{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":29,"n_cols":7,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ARXTP-N"]
[]
[]
[]
[]
["","","","","","ARXTP25N2V1B","ARXTP35N2V1B"]
["Hladina akustického tlaku","Vytápění","","Jm.","dBA","49","49"]
["","Chlazení","","Jm.","dBA","48","48"]
["Standardní příslušenství","Příručka pro instalaci","","","","1","1"]
["","Štítek náplně chladiva","","","","1","1"]
["","Vícejazyčné štítky pro fluorované skleníkové plyny","","","","1","1"]
["Chladivo","Vliv na globální oteplování (GWP)","","","","675","675"]
["","Náplň","","","kg","1.1","1.1"]
["","Typ","","","","R-32","R-32"]
["Motor ventilátoru","Otáčky","Chlazení","Velmi nízké","ot/min","450","450"]
["","","Vytápění","Velmi nízké","ot/min","360","360"]
["Připojovací rozměry","Rozdíl hladin","IU - OU","Max.","m","15","15"]
["","Doplňková náplň chladiva","","","kg/m","0,02 (pro délku potrubí přesahující 10m)","0,02 (pro délku potrubí přesahující 10m)"]
["Kompresor","Type","","","","Hermeticky utěsněný rotační kompresor","Hermeticky utěsněný rotační kompresor"]
["Rozměry","Jednotka","","Šířka","mm","763","763"]
["","","","Hloubka","mm","312","312"]
["","","","Výška","mm","551","551"]
["Hmotnost","Jednotka","","","kg","38","38"]
["Power supply","Phase","","","","1~","1~"]
["","Frekvence","","","Hz","50","50"]
["","Napětí","","","V","220-240","220-240"]
["Poznámky","","","","","(1) - Obsahuje fluorované skleníkové plyny","(1) - Obsahuje fluorované skleníkové plyny"]
["","","","","","(2) - Viz samostatný výkres s provozním rozsahem","(2) - Viz samostatný výkres s provozním rozsahem"]
["","","","","","(3) - Údaje o elektrickém systému najdete v samostatném výkresu","(3) - Údaje o elektrickém systému najdete v samostatném výkresu"]