{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":25,"n_cols":5,"rows_kept":25,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","BRC1H519W7"]
[]
[]
[]
[]
["","","","","BRC1H519W7."]
["Balení","Materiál","","","Karton"]
["","Hmotnost","","kg","0.0850"]
["Teplota okolí","Relativní vlhkost <","","%","95"]
["Rozměry","Jednotka v obalu","Šířka","mm","217"]
["","","Výška","mm","50"]
["","","Hloubka","mm","161"]
["","Jednotka","Šířka","mm","85"]
["","","Hloubka","mm","25"]
["","","Výška","mm","85"]
["Opláštění","Kryt tlačítka","","","Ne"]
["","Barva","","","Bílý"]
["","Provozní LED","Barva","","Blue status indicator"]
["LCD","Typ","","","100 x 150 dots"]
["","Zadní světlo","Barva","","Bílý"]
["","Rozměry","Šířka","mm","28.0"]
["","","Výška","mm","40.7"]
["Hmotnost","Jednotka v obalu","","kg","0.317"]
["","Jednotka","","kg","0.110"]
["Kabelové spoje","Délka kabeláže","Max.","m","500"]