{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":17,"n_cols":8,"rows_kept":17,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","SERHQ-AAW1"]
[]
[]
[]
[]
["","","","","SERHQ020AAW1+SERHQ020AAW1","SERHQ020AAW1","SERHQ032AAW1+SERHQ032AAW1","SERHQ032AAW1"]
["Kompresor","Typ","","","Hermeticky utěsněný šroubový kompresor","","Hermeticky utěsněný šroubový kompresor"]
["","Množství_","","","2","","3"]
["Hmotnost","Jednotka","","kg","240.00","240.00","316.00"]
["Rozměry","Jednotka","Šířka","mm","930","930","1,240"]
["","","Hloubka","mm","765","765","765"]
["","","Výška","mm","1,680","1,680","1,680"]
["Poznámky","","","","(1) - 230V","(1) - 230V","(1) - 230V","(1) - 230V"]
["Rozměry","Jednotka","Výška","mm","","","","1680"]
["","","Šířka","mm","","","","1240"]
["","","Hloubka","mm","","","","765"]
["Hmotnost","Jednotka","","kg","","","","316.00"]